THERMAL INSULATION

SECTION 07 21 19

Foamed-in-Place Insulation

AGRIBALANCE

This specification utilizes the Construction Specifications Institute’s (CSI) and CSC 3-Part formatting.  The specification is a manufacturer-specific product specification to be used by design professionals as a guide specification.  Editing notes are indicated in red italics and precede specification text.  Delete editing notes in final specification.

This specification specifies medium density spray foam insulation by Huntsman Building Solutions.  Revise section number and title below to suit project requirements.

The specified product may contribute to the following credits/points for the respective rating system:

LEED V.4.1

.

## PART 1 – GENERAL

1.1.	GENERAL

- Conform to sections of Division 01 xx xx as applicable.

1.2.	WORK INCLUDED

- Spray application of polyurethane foam to provide insulation, air barrier, including surface preparation.

1.3.	RELATED SECTIONS	Note: Amend to suit project

- Concrete Curing 								Section 03 39 00

- Structural Pre-cast Concrete					Section 03 40 00

- Unit Masonry									Section 04 05 00

- Metal Decking									Section 05 10 00

- Rough Carpentry								Section 06 10 00

- Waterproofing									Section 07 10 00

- Vapour Barrier									Section 07 26 00

- Air Barrier Section								Section 07 27 00

- Flexible Flashing								Section 07 65 00

- Pre-formed Roofing and Cladding/Siding		Section 07 70 00

- Fireproofing									Section 07 80 00

- Thermal Barrier								Section 07 81 29

- Fire Block										Section 07 84 00

- Gypsum Board								Section 09 20 00

1.4.	REFERENCES

- CALIBER Quality Assurance Program.

- ASTM E84 – Standard Test Method for Surface Burning Characteristics of Building Materials.

- ASTM D1622 Standard Test Method for Apparent Density of Rigid Cellular Plastics

- ASTM C518 Standard Test Method for Steady-State Thermal Transmission Properties by Means of the Heat Flow Meter Apparatus

- ASTM D 1623 Standard Test Method for Tensile and Tensile Adhesion Properties of Rigid Cellular Plastics

- ASTM D 1621 Standard Test Method for Compressive Properties of Rigid Cellular Plastics

- ASTM D 2126 Standard Test Method for Response of Rigid Cellular Plastics to Thermal and Humid Aging

- ASTM E96 Standard Test Methods for Water Vapor Transmission of Materials

- ASTM D 1929 Standard Test Method for Determining Ignition Temperature of Plastics

- CAN/ULC S102 Standard Method of Test for Surface Burning Characteristics of

building Materials and Assemblies

- ASTM E 283 Standard Test Method for Determining Rate of Air Leakage Through

Exterior Windows, Skylights, Curtain Walls, and Doors Under Specified Pressure

Differences Across the Specimen

1.5.	SUBMITTALS AND SAMPLES

- Before starting the work, submit in accordance with sections 01 33 00, result of independent laboratory test reports, data sheets, physical proprieties, meeting or exceeding requirements of the standard in reference to this specification.

- Submit independent laboratory test reports, data sheets, physical proprieties, and samples meeting or exceed requirements of this specification.

- License under CALIBER and certification of applicators under CALIBER to be submitted to the consultant upon request and prior to the beginning of the work.

- Submit by the manufacturer a conformity certification to NBC of the polyurethane foam system.

1.6.	QUALITY ASSURANCE

- Contractor performing work under this section must be certified by CALIBER OR CUFCA  for a minimum of 5 years.

- Conduct site tests of sprayed work as required by the CALIBER Quality Assurance Program.

- Upon request, submit manufacturer/supplier field applied product quality control report.

1.7.	MOCK-UP

- Provide mock-up of insulation and air barrier in accordance with section 01 75 00.

- Acceptance of mock-up sample may be part of the completed work.

- Do not commence work until sample installation has been accepted.

- Acceptance of sample preparation will be a reference for minimum acceptance of the work. Any need for deviation of the mock-up acceptance shall be reported in writing.

- Upon consultant request, provide in writing manufacturer acceptance of the mock-up quality.

1.8.	DELIVERY, STORAGE AND HANDLING

- Materials shall be delivered in manufacturers original sealed containers clearly labelled with manufacturer’s name, product identification, safety information, net weight of contents, and expiring date.

- Material is to be stored in a safe manner and where the temperatures are in the limits specified by the material manufacturer.

- Empty containers have to be removed from site on a daily basis and disposed of

properly.

1.9. 	APPLICATION CONDITIONS

- At the beginning and during the work, allow access to the job site by HUNTSMAN BUILDING SOLUTIONS representatives.

- Execute the work of this section when the temperature of the air and substrate are within the limits of the data sheet supplied by the manufacturer.

- Apply the spray foam only when the relative humidity is below 80%.

- Prepare all surfaces in accordance with the manufacturer’s recommendations.

1.10.	 PROTECTION

- Ventilate area receiving insulation to maintain safe working conditions.

- Ensure the safety of the workers in conformity with local regulations, standards and manufacturers recommendations.

- For spraying inside of occupied buildings:

- Delimit the working space (with a polyethylene if required).

- All the ventilation ducts must be sealed before the spraying.

- Install a fan extracting air outside the building.

- The workspace, in retrofit construction (occupied buildings), must be under negative pressure at a minimum exfiltration rate of 0.3 air changes per hour.

- The workspace, in retrofit construction, must be under negative pressure for a minimum of 24 hrs.

- Confirm everyone in the workspace has respiratory protective equipment and personal protective equipment in conformity with provincial regulations.

- Protect adjacent surfaces, windows, equipment, and site areas from damage of over spray.

1.11.	WARRANTY

- Warrant work of this section against defects and deficiencies for a period of two years from date work completion.

- Provide manufacturer’s warranty for the field-applied product.

PART 2 - PRODUCTS

## ENVIRONNEMENTAL REQUIREMENTS

- The product shall not contain any CFC, HCFC, HFC or any ozone depletion substance.

- The product shall have a generic industry Environmental Product Declaration (EPD).

## MATERIALS

- Spray Applied Semi Rigid Polyurethane Foam Insulation system

- Product:  Agribalance, Manufactured by HUNTSMAN BUILDING SOLUTIONS

## PHYSICAL PROPERTIES

| Density | ASTM D1622 | 0.6 - 0.8 lb/ft³ | 9.6 - 12.8 Kg/m³ |
| --- | --- | --- | --- |
| Thermal Resistance | ASTMC518, 90 days/60°C at 1’’ | R- 4.45 | 0.78 RSI |
| Dimensional Stability | ASTM D-2126 (% of change in volume at 28 days) 158°F (70°C) 97% R.H. | 3.16 % |  |
| Flame Spread Index | CAN/ULC S102-S127 | 300 |  |
| Compressive strength | ASTM D1621 | 1.86 psi | 12.82 KPa |
| Tensile strength | ASTM D1623 | 3.87 psi | 26.68 KPa |
| Air Permeance | ASTM E 283 3.5’’ @ 75 Pa | <0.02 L/s· m² |  |
| Air Permeance | ASTM E 2178-13 3.5’’ @ 500 Pa 3.5’’ @ 1000 Pa 3.5’’ @ 1500 Pa 3.5’’ @ 2000 Pa | 0.003 L/s· m² 0.006 L/s· m² 0.011 L/s· m² 0.018 L/s· m² |  |
| Water vapour permeance | ASTM E96 (5’’) | 4.95 perms | 83 ng/Pa s.m² |
| Ignition Properties | ASTM D1929 | 968oF | 520oC |

  - PRIMERS

- Install primers in accordance with the manufacturer recommendations

- For oily metal surface like Z-Bar, steel deck roof or curtain wall pan, aluminum tube, and PVC, before spraying polyurethane foam apply ADBOND 8388-1 adhesive primer, color: red.

2.5		EQUIPMENT

- Equipment used to apply the foam insulation shall have fixed ratio positive displacement pumps as approved by foam manufacturer.

PART 3 – EXECUTION

3.1 	EXAMINATION

- Verify that surfaces and conditions are suitable to accept work as outlined in this section.

- Verify the conditions of surfaces.

- Surfaces to be covered with spray foam shall be free of an excess of moisture, frost, oil, rust, and any other foreign material able to have a negative effect on the adhesion of the product. In doubt, apply a primer.

- Allow time for the complete cure of the substrates: concrete, mortar, fillers, membranes, primers, coatings or other surfaces, before applying the spray foam.

- All oily metal surface like Z-Bar, steel deck roof or curtain wall pan, aluminium tube, and PVC, shall be primed

- Identify the moisture content of all different building materials.

- Report in writing any defects in surface or conditions that may adversely affect the performance of products installed and follow manufacturer’s recommendations.

- For occupied building application, confirm that all requirements in Article 1.10 are in place.

- Commencement of work outlined in this section shall be deemed as acceptance of existing work and conditions.

3.2	APPLICATION

- Spray application of polyurethane foam shall be performed in accordance with the manufacturer’s recommendations.

- Apply spray foam on dry, solid and clean surfaces when the climatic conditions are in accordance with Huntsman Building Solutions recommendations.

- Apply to obtain the thickness as indicated on drawings, or (   mm) for wall, (   mm)  for roof to achieve the required thermal insulation value.

- Do not spray closer than 3” (75 mm) to chimneys, recess spotlight or other source of heat.

3.3	QUALITY CONTROL ON SITE

If requested, a quality control report will be issued after a site inspection by Huntsman Building Solutions.

3.4 	FIRE PROTECTION

- Any open flame or welding is not permitted to be in contact with the Spray Polyurethane Foam in place.

- All plastic insulation must be protected from interior occupancy space by an approved thermal barrier to meet the requirements of local Building Codes.

Note: Work related to thermal barrier installation should be specified under appropriate sections.

END OF SECTION 07 21 19